COMPLETE FOR EACH PATIENT                   DATE:       ___________

| Patient’s Name: DOB: |  |  | Address & Telephone No: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| It is acknowledged that there will be occasions when it is not in the patient’s best interest to switch their product to one on the formulary. However, please consider this when there is an opportunity to do so. For further clinical information and support, please refer to the policies and guidelines, such as the ‘Urinary Catheterisation’ guideline. Please phone the Bladder & Specialist Service via 01726 873095 as required. |  |  |  |  |  |  |
|  | MANUFACTURER | APPLIANCE | ### PACK SIZE | ### Approx cost per pack £ | Maximum order for 4 week period* | QUANTITY REQUESTED |
| LEG DRAINAGE BAGS | Unomedical | Careline + Leg Bag with lever tap and 1 pair of non- latex gloves short tube; long tube. 500ml; 46-05-SVC G; 46-06-LVC G. 750ml; 46-09-SVCG; 46-10-LVCG. | 10 | 26.11 27.60 | 10 | 0 |
|  |  | Careline + Leg Bag with tap outlet, overnight connection tube and elasticated Velcro straps and 1 pair of non-latex gloves short tube; long tube. 350ml; 45-01 SVCG; 45-02 LVCG. 500ml; 45-05 SVCG; 45-06 LVCG. 750ml; 45-09 SVCG; 45-10 LVCG. | 10 | 26.33 26.11 26.11 | 10 | 0 |
| NIGHT DRAINAGE BAGS | Unomedical | Easi MT 2 litre drainage bag with 90cm inlet tube, non-return valve and single use twist off drainage outlet 47-60-LBH | 10 | 3.52 | 30 | 0 |
| TUBING & ACCESSORIES | Coloplast Ltd | Simpla G-Strap ## adult 383001 ## abdominal 383003 | 5 | 15.04 16.59 | 3 | 0 |
|  | Flexicare Medical Ltd | Leg bag straps (pairs); washable, anti-slip with Velcro fastening 00-0032C | 10 | 11.70 | 6 | 0 |
|  | Bard Ltd | Bard StatLock Foley Catheter Stabilisation Device FOL0102DT | 1 | 13.34 | 4 | 0 |
|  | CliniSupplies Ltd | Prosys leg bag sleeve small (24-40cm) PLS3881 medium (36-50cm) PLS3904 large (40-65cm) PLS3928 | 4 | 7.80 | 4 | 0 |
| CATHETER MAINTENANCE SOLUTIONS | Bard Ltd Note: catheter maintenance solutions are not to be routinely used for blocked catheters or for prophylactic use. Maximum treatment period of 1 month before review. | Optiflo G 3.23% Citric Acid CSG50 Optiflo R 6.0% Citric Acid CSR50 Optiflo S 0.9% Saline CSS50 | 50ml 50ml 50ml | 3.75 3.75 3.53 | Dependent on frequency of use | 0 |
| SHEATH SYSTEMS | Coloplast Ltd | Conveen Optima (non-latex) self-sealing Urisheath Shorter length 21mm 22121 25mm 22125 30mm 22130 35mm 22135 Standard Length 25mm 22025 28mm 22028 30mm 22030 35mm 22035 40mm 22040 | 30 30 | 54.39 54.39 53.88 54.39 54.39 54.39 | 30 30 | 0 0 |
|  | Bard Ltd | Clear Advantage with Aloe silicone sheath Style 1; Style 2; Style 3. 24mm; 1243; 2243; 3243. 28mm; 1283; 2283; 3283. 32mm; 1323; 2323; 3323. 36mm; 1363; 2363; 3363. 40mm; 1403; 2403; 3403. | 30 | 53.59 | 30 | 0 |
| INDWELLING URETHRAL & SUPRA-PUBIC CATHETERS | Bard Ltd 10ml balloon only to be used 12ch for urethra 16ch for supra-pubic * PTFE up to 4 weeks ** up to 12 weeks Note: sterile water may need to be prescribed for balloon filling # All-in-one kit that provides all the essential items required for catheterisation. Includes a pre-connected leg bag. Subsequent leg bags should be as per formulary or patient choice Bard Ltd | PTFE coated latex* Standard (Male) D1265LV Female D0169LV | 1 | 2.82 4.21 | 2 | 0 |
|  |  | #### Biocath Hydrogel Coated** Standard (male) D2265 Female D2269 | 1 | 8.71 8.82 | 2 | 0 |
|  |  | Lubri-Sil Aquafil Hydrogel Coated Silicone with pre-filled syringe of sterile water Standard (male) D1758 Female D1761 | 1 | 10.00 | 2 | 0 |
|  |  | Biocath Comprehensive Care Foley Tray # Male (S) D22655S 12-16 Male (M) D22655M 12-16 Male (L) D22655L 12-16 Female (S) D22695S 12-16 Female (M) D22695M 12-16 Female (L) D22695L 12-16 | 10 | 17.83 | 2 | 0 |
|  |  | Lubri-Sil Comprehensive Care Foley Tray # Male (S) D17585S12-16 Male (M) D17585M12-16 Male (L) D17585L12-16 Female (S) D17615S12-16 Female (M) D17615M12-16 Female (L) D17615L12-16 | 10 | 17.83 | 2 | 0 |
|  |  | Bardex I.C. Comprehensive Care Foley Tray # y Tray#atient choice08211S-20000000000000000000000000000000000000000000000000000000000000000000 Male (S) D23655S 12-16 Male (M) D23655M 12-16 Male (L) D23655L 12-16 Female (S) D23695S 12-16 Female (M) D23695M 12-16 Female (L) D23695L 12-16 | 10 | 18.77 | 2 | 0 |
| INTERMITTENT CATHETERS | Wellspect HealthCare Coloplast Ltd | #### LoFric Origo with water Male (40cm) 10-16 4431025-4431625 | 30 30 30 | 54.06 49.99 47.04 | Dependent on frequency of use As above | 0 0 0 |
|  |  | LoFric Sense Female (15cm) 8 - 14 4160825-4161425 Speedicath (pre-hydrated polyurethane) Male 28408-28416 Female 28508-28516 |  |  |  |  |
| CATHETER ACCESSORIES | Cath-It | #### Cath-It Catheter Insertion/ #### Removal Pack S/M 908410 M/L 908420 L/XL 908430 | 1 | 1.98 | 2 | 0 |
| ANAESTHETIC GEL FOR CATHETERISATION | CliniMed Ltd 6mls for female urethra 11mls for male urethra | Instillagel 6ml 11ml | 1 | 1.05 1.10 | 2 | 0 |
| CATHETER VALVES | CliniSupplies Ltd | #### Prosys Catheter Valve PCV3942 | 5 | 9.88 | 5 | 0 |
|  | Unomedical Ltd | #### Careline Lever Catheter Valve 90 821 1S-20 | 5 | 10.61 | 5 | 0 |
| BARRIER | Medicareplus International Ltd. For further information please refer to skin care pathway. | #### Medi Derma-S Barrier Cream 60628 | 1x 28g | 2.98 | 1 | 0 |
| Additions/ changes marked in yellow |  |  |  |  |  |  |

Order sheet completed by (please print name):                                  Care Home/DN Base: